## 月指標
1-01能源指標（月）_Energy Indicators (Monthly)
期間 | 人均指標 Per Capita Indicators |  |  | 安全指標 Security Indicators |  |  |  |  | 集中度 Concentration |  |  |  | 再生能源 Renewable Energy |  |  |  | 電力負載 Load |  |  | Period
| 平均每人 能源消費量 (公斤油當量/人) | 平均每人 用電量 (度/人) | 平均每人負擔 能源進口值 （臺幣元/人） | 進口能源 依存度 (%) | 進口石油 依存度 (%) | 進口天然氣 依存度 (%) | 能源進口率 (%) | 能源進口值 占總進口值 比例(%) | 能源供應種類 集中度 (%) | 進口原油來源 集中度 (%) | 進口天然氣來源 集中度 (%) | 發電能源種類 集中度 (%) | 再生能源供給占 初級能源總供給 比例(%) | 再生能源供給 占總供給 比例(%) | 再生能源發電 占總發電量 比例(%) | 再生能源裝置容量 占總裝置容量 比例(%) | 平均負載 (千瓩) | 尖峰負載 (千瓩) | 負載率 (%)
| Per Capita Energy Consumption (kgoe) | Per Capita Electricity Consumption (kWh) | Per Capita Value of Energy Imports (NT$) | Dependence on imported Energy | Dependence on Oil imports | Dependence on LNG imports | Imported Energy / Energy Supply | Value of Energy Imports / Values of Total Imports | Types of Energy Supply | Countries of Imported Crude Oil | Countries of Imported LNG | Energy Types of Generation | RE Supply / Total Primary Energy Supply | RE Supply / Energy Supply | RE Generation / Total Power Generation | RE Installed Capacity / Total Installed Capacity | Average Load (MW) | Peak Load (MW) | Load Factor
95年 | 3074.137 | 9900.638 | 51955.5107 | 97.8273 | 99.9058 | 96.1089 | 98.0904 | 17.6351 | 59.0236 | 41.1116 | 60.581 | 58.6095 | 1.8909 | 1.5709 | 3.2878 | 6.0211 | 22439.183 | 32060.4 | 69.99 | 2006
96年 | 3245.554 | 10187.989 | 62594.4386 | 97.8391 | 99.8982 | 96.6979 | 98.1334 | 19.5921 | 58.5754 | 42.3895 | 55.589 | 58.9489 | 1.8955 | 1.5697 | 3.4242 | 6.1483 | 23042.916 | 32790.8 | 70.27 | 2007
97年 | 3087.724 | 9987.345 | 83387.2055 | 97.7299 | 99.8324 | 97.3955 | 98.0422 | 25.09 | 57.4967 | 43.5527 | 50.2042 | 58.2238 | 2.0134 | 1.6666 | 3.4657 | 6.267 | 22796.097 | 31320.2 | 72.78 | 2008
98年 | 3040.687 | 9563.703 | 53632.0205 | 97.7533 | 99.8541 | 97.383 | 98.1001 | 21.149 | 57.8835 | 42.8043 | 48.1718 | 59.4044 | 1.9514 | 1.6157 | 3.3948 | 6.3229 | 22101.056 | 31010.7 | 71.27 | 2009
99年 | 3223.898 | 10259.187 | 67606.9484 | 97.8529 | 99.8688 | 98.2197 | 98.1266 | 19.328 | 56.3068 | 43.3049 | 41.3387 | 57.9839 | 1.9426 | 1.6391 | 3.497 | 6.5456 | 23674.056 | 33022.6 | 71.69 | 2010
100年 | 3145.822 | 10437.669 | 79138.8811 | 97.7624 | 99.8659 | 98.1949 | 98.0147 | 21.7718 | 55.3433 | 45.5585 | 46.5195 | 58.2016 | 1.9898 | 1.726 | 3.5639 | 6.9721 | 24319.881 | 33786.9 | 71.98 | 2011
101年 | 3139.476 | 10361.316 | 84991.2953 | 97.5201 | 99.8763 | 97.7004 | 97.8534 | 24.1035 | 55.7786 | 43.0499 | 54.5182 | 58.1063 | 2.1655 | 1.825 | 4.2587 | 7.4288 | 24101.571 | 33081.4 | 72.86 | 2012
102年 | 3220.125 | 10500.186 | 80558.0373 | 97.5866 | 99.8843 | 98.0136 | 97.9159 | 22.8835 | 55.385 | 45.5479 | 56.4917 | 57.8314 | 2.1409 | 1.8083 | 4.3029 | 7.8195 | 24364.007 | 33957.4 | 71.75 | 2013
103年 | 3257.696 | 10729.119 | 81550.48 | 97.7642 | 99.8626 | 98.1293 | 98.0589 | 22.5007 | 55.3265 | 42.9311 | 52.1826 | 57.7126 | 1.9898 | 1.6642 | 3.8178 | 8.3962 | 25025.528 | 34821.4 | 71.87 | 2014
104年 | 3262.05 | 10655.936 | 48955.969 | 97.6717 | 99.8177 | 98.2767 | 97.9739 | 15.3641 | 55.3563 | 43.6829 | 53.1257 | 56.8215 | 2.0637 | 1.7334 | 4.0593 | 8.8961 | 25011.855 | 35248.4 | 70.96 | 2015
105年 | 3266.444 | 10861.569 | 40080.932 | 97.5835 | 99.8308 | 98.5733 | 97.9049 | 12.7257 | 55.6913 | 42.0183 | 49.0472 | 57.288 | 2.1847 | 1.8389 | 4.821 | 9.5313 | 25705.047 | 35863.7 | 71.67 | 2016
106年 | 3251.095 | 11096.958 | 49679.2959 | 97.6987 | 99.8246 | 98.9365 | 98.0001 | 14.8641 | 56.2566 | 40.7854 | 41.631 | 59.0797 | 2.1172 | 1.776 | 4.5768 | 10.6693 | 26379.05 | 36258.768 | 72.75 | 2017
107年 | 3300.015 | 11311.851 | 62473.4195 | 97.5093 | 99.2976 | 99.223 | 97.8547 | 17.1928 | 55.8027 | 42.0617 | 40.5337 | 59.2963 | 2.1462 | 1.794 | 4.5775 | 11.8773 | 26631.108 | 37056.902 | 71.87 | 2018
108年 | 3190.84 | 11275.621 | 56690.3798 | 97.2874 | 99.2132 | 99.3311 | 97.6889 | 15.1214 | 55.4059 | 43.7129 | 43.5365 | 58.2204 | 2.4071 | 1.9662 | 5.5496 | 13.8913 | 26537.943 | 37067.066 | 71.59 | 2019
109年 | 3204.012 | 11534.896 | 36664.6822 | 97.265 | 99.1798 | 99.6061 | 97.5543 | 10.1847 | 54.0672 | 45.2215 | 43.0687 | 58.5778 | 2.4615 | 2.1093 | 5.4819 | 16.5438 | 27200.391 | 37714.613 | 72.12 | 2020
110年 | 3391.275 | 12137.126 | 57052.0341 | 97.1614 | 99.1507 | 99.6243 | 97.4771 | 12.5305 | 54.3572 | 44.5017 | 43.9404 | 58.7142 | 2.5435 | 2.1841 | 6.1464 | 19.545 | 28479.419 | 38700.948 | 73.59 | 2021
111年 | 3218.963 | 12084.482 | 97620.6957 | 96.6325 | 99.1807 | 99.6824 | 97.0775 | 18.1224 | 54.5506 | 46.3421 | 47.7009 | 58.0216 | 3.1074 | 2.6111 | 8.3584 | 22.8137 | 28752.886 | 40592.586 | 70.83 | 2022
112年 | 3046.179 | 11977.821 | 74301.8119 | 96.1647 | 99.1675 | 99.6972 | 96.6424 | 15.8285 | 54.8979 | 46.4759 | 50.7171 | 58.3942 | 3.5845 | 3.0337 | 9.6836 | 28.0358 | 28218.265 | 39489.171 | 71.46 | 2023
113年 | 2989.697 | 12323.457 | 70550.7938 | 95.1675 | 99.0246 | 99.7758 | 95.7784 | 12.8068 | 54.5687 | 47.0199 | 47.7062 | 58.3153 | 4.657 | 3.8794 | 11.7061 | 31.5422 | 28966.708 | 40881.619 | 70.86 | 2024
01月 | 244.474 | 947.261 | 6151.5633 | 95.8712 | 99.1114 | 99.7883 | 96.3637 | 13.3299 | 54.9116 | 47.082 | 48.697 | 58.2758 | 4.1921 | 3.3005 | 9.9525 | 28.4428 | 25704.64 | 30135.0532 | 85.2981 | 2024/01
02月 | 219.775 | 860.128 | 5183.1601 | 94.7908 | 99.1519 | 99.7322 | 95.5972 | 16.4548 | 55.6414 | 45.3346 | 47.9897 | 56.1164 | 4.9352 | 4.0611 | 12.3805 | 28.5857 | 24608.269 | 30644.8285 | 80.3015 | 2024/02
03月 | 239.317 | 953.775 | 5531.503 | 95.1106 | 98.8137 | 99.7406 | 95.8058 | 12.4518 | 53.9114 | 51.2512 | 59.1848 | 57.0192 | 4.4736 | 3.8154 | 11.4214 | 29.0334 | 26497.871 | 32240.0365 | 82.1893 | 2024/03
04月 | 242.682 | 954.336 | 5870.0893 | 96.1886 | 99.0825 | 99.733 | 96.5274 | 14.058 | 55.1978 | 50.293 | 56.745 | 58.2268 | 3.8246 | 3.1149 | 9.7501 | 29.2357 | 28303.042 | 34770.2365 | 81.4001 | 2024/04
05月 | 264.207 | 1046.433 | 6906.0363 | 95.4974 | 99.0113 | 99.7539 | 96.162 | 15.9758 | 54.7667 | 48.8329 | 45.1221 | 58.0707 | 4.2175 | 3.4961 | 10.921 | 29.8367 | 28823.926 | 35484.7176 | 81.2291 | 2024/05
06月 | 254.449 | 1034.907 | 6544.0023 | 95.652 | 99.2302 | 99.7815 | 96.1444 | 13.4384 | 54.8306 | 50.3747 | 49.4972 | 58.113 | 4.5408 | 3.5646 | 11.205 | 30.0946 | 31676.246 | 39903.8869 | 79.3813 | 2024/06
07月 | 266.57 | 1117.09 | 6549.7953 | 95.5478 | 99.0684 | 99.8271 | 96.0784 | 13.4283 | 54.4894 | 49.2544 | 51.8919 | 59.1489 | 4.2043 | 3.6375 | 10.1852 | 29.8785 | 32936.885 | 40881.6189 | 80.5664 | 2024/07
08月 | 261.479 | 1161.855 | 6243.0164 | 95.1196 | 99.1339 | 99.7889 | 95.7927 | 13.9843 | 55.0656 | 46.713 | 47.5923 | 59.9896 | 4.6396 | 3.9044 | 10.8043 | 30.5714 | 32848.672 | 40175.1103 | 81.7637 | 2024/08
09月 | 253.574 | 1176.344 | 5770.3628 | 95.197 | 98.9935 | 99.8011 | 95.7999 | 12.4883 | 54.8699 | 45.0902 | 45.48 | 59.487 | 4.8586 | 3.878 | 11.292 | 30.8849 | 32322.25 | 40671.9289 | 79.4706 | 2024/09
10月 | 245.527 | 1088.932 | 5183.0665 | 94.3258 | 99.0449 | 99.7579 | 94.9604 | 10.9951 | 54.4478 | 50.3151 | 42.4119 | 58.9779 | 5.1516 | 4.6817 | 13.2307 | 31.0028 | 29279.085 | 36767.7483 | 79.6325 | 2024/10
11月 | 247.947 | 1032.51 | 5060.7487 | 94.2222 | 98.8282 | 99.8 | 95.0197 | 8.9353 | 55.0215 | 43.6767 | 49.2446 | 59.6557 | 5.5093 | 4.6123 | 14.4289 | 31.1421 | 27698.08 | 33825.9899 | 81.884 | 2024/11
12月 | 249.621 | 949.696 | 5554.8544 | 93.9896 | 98.698 | 99.7766 | 94.7354 | 10.7385 | 54.2487 | 54.7306 | 45.0957 | 57.7935 | 5.5526 | 4.8175 | 15.5969 | 31.5422 | 26753.661 | 30793.1408 | 86.8818 | 2024/12
114年 | 3005.857 | 12279.695 | 61679.2188 | 94.6931 | 99.027 | 99.8156 | 95.4315 | 9.5186 | 55.5166 | 45.4127 | 49.5326 | 60.0139 | 5.0939 | 4.2247 | 13.0874 | 32.7404 | 0 | 0 | 0 | 2025
01月 | 242.326 | 898.471 | 5643.7719 | 94.7206 | 99.2037 | 99.7697 | 95.4844 | 14.1257 | 56.483 | 43.5111 | 50.3964 | 57.7536 | 5.2962 | 4.1877 | 14.7826 | 31.7101 | 25377.611 | 29991.7321 | 84.6153 | 2025/01
02月 | 226.541 | 861.645 | 4985.6111 | 93.4162 | 98.8428 | 99.7594 | 94.5812 | 10.2578 | 54.5261 | 50.0542 | 52.0574 | 57.3808 | 5.7954 | 5.0289 | 15.5461 | 31.8244 | 26552.443 | 29995.6811 | 88.5208 | 2025/02
03月 | 250.842 | 955.707 | 6127.5288 | 94.5763 | 98.9985 | 99.7883 | 95.4324 | 10.2421 | 55.9854 | 48.9086 | 52.4455 | 57.6223 | 5.2085 | 4.1979 | 14.3958 | 31.875 | 26801.944 | 32372.4871 | 82.7923 | 2025/03
04月 | 242.608 | 945.049 | 5769.4063 | 95.4246 | 99.2455 | 99.8123 | 95.9302 | 9.8739 | 55.2361 | 46.4926 | 53.3703 | 58.4521 | 4.7081 | 3.7765 | 12.6685 | 32.3618 | 27854.639 | 35211.0717 | 79.1076 | 2025/04
05月 | 255.866 | 1029.29 | 5027.9764 | 94.8288 | 99.1828 | 99.8208 | 95.4711 | 9.305 | 54.7372 | 49.5667 | 48.9757 | 59.6423 | 4.9076 | 4.2632 | 12.589 | 31.8919 | 29902.769 | 37942.3597 | 78.811 | 2025/05
06月 | 256.655 | 1051.245 | 4941.0185 | 94.99 | 99.0362 | 99.8351 | 95.773 | 9.0362 | 56.6892 | 43.8486 | 52.2538 | 61.4923 | 4.75 | 3.8881 | 11.5426 | 32.4967 | 32391.233 | 39774.4476 | 81.4372 | 2025/06
07月 | 262.238 | 1122.78 | 5430.6946 | 94.9568 | 98.9647 | 99.8502 | 95.7481 | 9.9002 | 56.4575 | 45.9411 | 48.9126 | 61.7391 | 4.9261 | 3.9216 | 11.6636 | 32.1398 | 32597.845 | 40739.4131 | 80.0154 | 2025/07
08月 | 268.412 | 1148.47 | 5165.5439 | 95.2935 | 99.1298 | 99.8299 | 95.9085 | 9.7283 | 55.9586 | 49.697 | 50.841 | 61.9628 | 4.6279 | 3.7823 | 11.2718 | 32.2845 | 32735.397 | 39434.1421 | 83.0128 | 2025/08
09月 | 262.448 | 1142.563 | 4468.9014 | 94.8645 | 98.5716 | 99.8314 | 95.6192 | 8.3477 | 55.7563 | 45.2367 | 48.8111 | 62.3221 | 4.2052 | 3.9515 | 9.7418 | 32.444 | 33248.152 | 39785.9459 | 83.5675 | 2025/09
10月 | 259.022 | 1156.506 | 4516.3156 | 94.6637 | 98.8698 | 99.8042 | 95.208 | 8.8711 | 55.0946 | 49.7002 | 49.5806 | 62.1994 | 5.1116 | 4.4349 | 12.4758 | 32.5812 | 31424.13 | 38797.7982 | 80.9946 | 2025/10
11月 | 243.133 | 1067.38 | 5037.0032 | 94.4117 | 99.1404 | 99.8332 | 94.9854 | 7.9827 | 56.6386 | 46.0879 | 50.652 | 60.3093 | 6.0414 | 4.6339 | 16.4773 | 32.7012 | 27879.603 | 34455.7179 | 80.9143 | 2025/11
12月 | 236.072 | 902.592 | 4565.0837 | 93.7305 | 98.9045 | 99.8316 | 94.7586 | 8.0009 | 55.5439 | 51.034 | 51.7063 | 59.4551 | 5.8677 | 4.8867 | 15.9142 | 32.7404 | 27037.213 | 31440.8086 | 85.994 | 2025/12

## 季指標
1-01能源指標（季）_Energy Indicators (Quarterly)
期間 | 密集度 Intensity | [5 empty] | 彈性值 Elasticity |  | 能源進口值占 名目GDP比例 (%) | Period
| 初級能源 密集度 (公斤油當量/千元) | 能源消費 密集度 (公斤油當量/千元) | 工業部門 能源消費密集度 (公斤油當量/千元) | 服務業部門 能源消費密集度 (公斤油當量/千元) | 電力密集度 (度/千元) | 能源生產力 (元/公斤油當量) | 國內能源消費 彈性值 | 電力消費 彈性值
| Intensity of Total Primary Energy Supply (kgoe/103NT$) | Intensity of Domestic Energy Consumption (kgoe/103NT$) | Intensity of Industrial Energy Consumption (kgoe/103NT$) | Intensity of Service Energy Consumption (kgoe/103NT$) | Electricity Intensity (kWh/103NT$) | Energy Productivity (NT$/kgoe) | Elasticity of Domestic Energy Consumption | Elasticity of Electricity Consumption | Value of Energy Imports / Nominal GDP
95年 | 7.845 | 5.385 | 6.499 | 0.588 | 17.3431 | 185.7004 | 0.2343 | 0.59568 | 9.4317 | 2006
96年 | 7.703 | 5.342 | 5.929 | 0.562 | 16.7711 | 187.1704 | 0.87749 | 0.48556 | 10.7342 | 2007
97年 | 7.349 | 5.06 | 5.549 | 0.559 | 16.3677 | 197.6171 | -5.6716 | -2.0361 | 14.6222 | 2008
98年 | 7.3 | 5.082 | 5.341 | 0.555 | 15.9864 | 196.7455 | 0.72988 | 2.4204 | 9.5805 | 2009
99年 | 7.067 | 4.901 | 4.936 | 0.536 | 15.5974 | 204.0233 | 0.61615 | 0.73818 | 11.127 | 2010
100年 | 6.811 | 4.623 | 4.76 | 0.508 | 15.3413 | 216.2756 | -0.59902 | 0.53656 | 12.8697 | 2011
101年 | 6.609 | 4.529 | 4.499 | 0.492 | 14.9475 | 220.7942 | 0.058039 | -0.18132 | 13.4747 | 2012
102年 | 6.567 | 4.547 | 4.458 | 0.489 | 14.8281 | 219.9074 | 1.1664 | 0.67005 | 12.3151 | 2013
103年 | 6.398 | 4.404 | 4.03 | 0.483 | 14.5052 | 227.0549 | 0.30142 | 0.51673 | 11.7393 | 2014
104年 | 6.234 | 4.357 | 3.911 | 0.483 | 14.2342 | 229.4929 | 0.26428 | -0.2939 | 6.7349 | 2015
105年 | 6.13 | 4.28 | 3.802 | 0.476 | 14.2335 | 233.618 | 0.16674 | 0.99774 | 5.369 | 2016
106年 | 5.894 | 4.116 | 3.58 | 0.471 | 14.0519 | 242.9069 | -0.082584 | 0.6388 | 6.4968 | 2017
107年 | 5.794 | 4.064 | 3.543 | 0.449 | 13.9341 | 246.0026 | 0.55431 | 0.70307 | 7.9974 | 2018
108年 | 5.478 | 3.816 | 3.391 | 0.436 | 13.4868 | 262.0157 | -1.0614 | -0.082774 | 7.05 | 2019
109年 | 5.183 | 3.703 | 3.149 | 0.436 | 13.3328 | 270.0218 | 0.10344 | 0.65473 | 4.318 | 2020
110年 | 5.074 | 3.655 | 2.939 | 0.423 | 13.082 | 273.5771 | 0.79363 | 0.70126 | 6.1493 | 2021
111年 | 4.752 | 3.357 | 2.721 | 0.432 | 12.6047 | 297.8384 | -2.117 | -0.39612 | 9.9758 | 2022
112年 | 4.436 | 3.146 | 2.773 | 0.426 | 12.3713 | 317.8395 | -4.8633 | -0.72523 | 7.3496 | 2023
113年 | 4.012 | 2.941 | 2.536 | 0.422 | 12.1265 | 339.9142 | -0.29793 | 0.60459 | 6.4173 | 2024
第1季 | 3.95 | 2.911 | 2.677 | 0.377 | 11.4255 | 343.4885 | -0.81086 | 0.24308 | -- | Q1
第2季 | 4.27 | 3.068 | 2.589 | 0.431 | 12.2335 | 325.9308 | 0.17753 | 1.0513 | -- | Q2
第3季 | 4.185 | 3.03 | 2.43 | 0.485 | 13.398 | 329.9482 | -0.2027 | 0.8396 | -- | Q3
第4季 | 3.662 | 2.767 | 2.469 | 0.395 | 11.4375 | 361.3469 | -0.12892 | 0.33428 | -- | Q4
114年 | 3.651 | 2.715 | 0 | 0 | 11.0945 | 368.2222 | 0.03244 | -0.071055 | 5.0202 | 2025
第1季 | 3.745 | 2.818 | 2.429 | 0.359 | 10.6349 | 354.8213 | 0.39113 | -0.31908 | -- | Q1
第2季 | 3.847 | 2.818 | 2.231 | 0.421 | 11.2943 | 354.751 | -0.13559 | -0.073118 | -- | Q2
第3季 | 3.862 | 2.832 | 2.169 | 0.464 | 12.1933 | 353.0115 | 0.13897 | -0.18498 | -- | Q3
第4季 | 3.205 | 2.43 | 0 | 0 | 10.292 | 411.5005 | -0.083152 | 0.10992 | -- | Q4
註：1.初級能源密集度(公斤油當量/千元)：初級能源總供給/實質國內生產毛額，即生產每一單位實質國內生產毛額所需供給之能源。
2.能源消費密集度(公斤油當量/千元)：國內能源消費/實質國內生產毛額，即生產每一單位實質國內生產毛額所需消費之能源。
Note: 1. Intensity of Total Primary Energy Supply: Total Primary Energy Supply/GDP, which is the amount of energy supplied to produce a unit of real GDP.
2. Intensity of Domestic Energy Consumption: Domestic energy consumption/GDP, which is the amount of energy consumed to produce a unit of real GDP.